UMP/IBBC/ANNEX 2

BSL 1 SELF INSPECTION CHECKLIST

Communitizing Technology

For IBBC use only Registration no.: Date received:

# INSTITUTIONAL BIOSAFETY & BIOSECURITY COMMITTEE (IBBC) UNIVERSITI MALAYSIA PAHANG

BSL 1 SELF-INSPECTION CHECKLIST

Instructions

- Using the checklist below, inspect your lab and note any deficiencies that need to be addressed [the Principal Investigator (PI) may assign a senior lab member or laboratory supervisor to complete the checklist but the PI must review, date and sign the checklist.

- Sign and date the completed checklist.

- If you have any questions, please contact the IBBC secretariat at biosafety@ump.edu.my

Date: Conducted by:

Principal Investigator (PI): Faculty/Department/Room no.:

| 1. BASIC LABORATORY – BIOSAFETY LEVEL 1 |
| --- |
| 1.1 Laboratory | YES | NO | N/A | COMMENTS |
| a. | Limited access |  |  |  |  |
| b. | Proper signage: e.g. biohazard, ultraviolet light etc. |  |  |  |  |
| c. | Relevant SOP for work activities available and followed |  |  |  |  |
| d. | Laboratory equipment properly labelled (biohazardous, radioactive, toxic, etc.) |  |  |  |  |
| 1.1.2 Laboratory Design |
| a. | Facility designed for easy cleaning |  |  |  |  |
| b. | Corridors and exits are free from obstruction |  |  |  |  |
| c. | All storage shelves secured |  |  |  |  |

- Bench-tops waterproof and resistant to acids, alkali, organic solvents, heat, chemicals used to decontaminate the work surface.

- Adequate illumination/lighting provided

- Adequate storage space available and appropriately used

- Adequate ventilation

- Windows fitted with insect-proof screen (when windows can be opened)

# Gas Cylinders

- All cylinders secured

- Caps on reserve cylinders

- Asphyxiating and hazardous gases only in designated ventilated rooms

- No excess or empty cylinders present in non- designated areas

# Chemicals

a.	Flammables stored in storage cabinet for flammables

- Chemicals segregated properly based on intrinsic properties when stored

- Hazardous chemicals stored safely and securely

- Working stock chemicals available in appropriate amount

- MSDS/ CSDS is available and easily accessible for all chemicals

# Refrigerators/Freezers/Cold Rooms

- No food for human consumption stored

- Flammables placed in explosion-proof/-safe units

- All material containing carcinogens, radioactivity and/or biohazards are labelled externally

- Cold-room has emergency release

- Cold-room has audible alarm or temperature monitoring system

# YES	NO	N/A	COMMENTS

| 1.1.6 Electrical Equipment | YES | NO | N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| a. | No overloaded extension cords or electrical strips |  |  |  |  |
| b. | Earths/grounds present on electrical outlets and cords |  |  |  |  |
| c. | No electrical connections in wet areas e.g. sinks, under showers, etc. |  |  |  |  |
| d. | All equipment and wiring in good working condition |  |  |  |  |
| e. | Power strips mounted off the floor |  |  |  |  |
| f. | Proper fuses in conduits |  |  |  |  |
| 1.1.7 Personal Protective Equipment |
| a. | Eyewash available |  |  |  |  |
| b. | Safety shower available |  |  |  |  |
| c. | Personal protective equipment available (gloves, gowns, goggles, etc.) and worn |  |  |  |  |
| d. | Occupants properly attired |  |  |  |  |
| e. | Laboratory coats, gowns, smocks, gloves and other personal protective clothing not worn outside the laboratory |  |  |  |  |
| f. | Personal protective equipment available for cryogenic storage |  |  |  |  |
| 1.1.8 Waste Management |
| a | Wastes segregation implemented |  |  |  |  |
| b | Chemical waste containers tagged, labelled, dated and kept closed/stored |  |  |  |  |
| c | Biohazardous waste containers appropriately handled and disposed |  |  |  |  |
| d | All sharps (needles, broken glass, scalpel blades) are disposed in sharps bin or designated durable puncture proof containers |  |  |  |  |
| e | No trash on floor |  |  |  |  |
| 1.1.9 Occupational Health and Safety Programme Available |
| a. | Hazard communication (Lab personnel advised of all potential hazards) |  |  |  |  |
| b. | Respiratory protection |  |  |  |  |

- Hearing conservation

- Chemical Spill Kit available

- Biological Spill Kit available

- First Aid Kit available

- Emergency Response Plan (ERP) in place

- Reporting of Incidents, Accidents and Illness

# General Engineering Controls

- Sink available for hand-washing

- No exposed machine parts (pulleys, gears)

- Water purification system in good condition

# General Practices and Procedures

- Food for human consumption stored outside the laboratory area in cabinets or refrigerators designated and used for this purpose

- Microwave oven(s) clearly labelled “Strictly to Laboratory Materials Only”

- Eating, drinking, smoking and/or applying of cosmetics not allowed in the laboratory

- Pressurized glass containers taped or shielded

(i.e. vacuum traps)

- Mouth pipetting prohibited

- Mechanical pipetting devices available and used

- Protective laboratory clothing stored separately from street clothing

# General Laboratory Housekeeping

- Bench-top cleaned and not cluttered

- Laboratory floor free from trip hazards

- Broken glassware handled by mechanical means (brush and dustpan, tongs, etc.)

# YES	NO	N/A	COMMENTS

- Chemical inventory system available f	Pest Control program implemented

# Fire Protection

- Sprinkler heads free and unobstructed

- No wiring or tubing through door openings

- Minimum passage width of 1 meter(m) in laboratory

- Minimum combustibles stored in laboratory

- Adequate fire extinguisher available

- Fire alarm available and drills for evacuation implemented

Note: N/A- Not Applicable

# Other comments:

YES	NO	N/A	COMMENTS

Signature and stamp of PI:	Date:

Adapted from:   Malaysia Laboratory Biosafety and Biosecurity Policy and Guideline, Ministry of Health Malaysia, 2015, 1st Edition (section 3.0 Laboratory Biosafety Checklist)